## Parker Ave BID Items
City of West Palm Beach (B3)
SCHEDULE OF BID ITEMS
ITB 23-24-114 LA
PROJECT NUMBER: #444376-1-58-01, CITY PROJECT # 50146547
PROJECT TITLE: Parker Avenue Reconstruction (Forest Hill to Nottingham Blvd)
Pay Item No. | Item Description | Unit | Quantity | Unit Price | Total Price
General Conditions
GC-1 | Mobilization/Demobilization | LS | 1 |  | 0
GC-2 | Maintenance of Traffic (Including Detailed Traffic Control Plan) | LS | 1 |  | 0
GC-3 | Bonds | LS | 1 |  | 0
GC-4 | Insurance | LS | 1 |  | 0
GC-5 | NPDES - Construction Generic Permit CGP (Including Detailed Sediment Control Plan) | ALLOW | 1 |  | 0
GC-6 | MOT Permit | ALLOW | 1 |  | 0
GC-7 | Layout and Asbuilt Survey | LS | 1 |  | 0
GC-8 | Professional Video (pre-construction) | LS | 1 |  | 0
GC-9 | Contingency | ALLOW | 1 |  | 0
| Total General Conditions |  |  |  | 0
Erosion Control | Mechanical Improvements within Building
EC-01 | Sediment Barrier | LF | 6000 |  | 0
EC-02 | Inlet Protection System | EA | 20 |  | 0
EC-03 | Constructon Entance | EA | 14 |  | 0
| Total Erosion Control |  |  |  | 0
Roadway | Mechanical Improvements within Building
RD-01 | Remove Existing Asphalt and Limerock Base | CY | 920 |  | 0
RD-02 | Remove Existing Concrete | SY | 7500 |  | 0
RD-03 | Remove Existing Curb | LF | 9000 |  | 0
RD-04 | Regular Excavation | CY | 1000 |  | 0
RD-05 | Optional Base, Base Group 9 | SY | 27055 |  | 0
RD-06 | Type B Stabilization | SY | 30890 |  | 0
RD-07 | Type SP-9.5 Asphaltic Concrete | TN | 1471 |  | 0
RD-08 | Type SP-12.5 Asphaltic Concrete | TN | 2207 |  | 0
RD-09 | 1" Mill and Overlay, Type SP-9.5 Asphaltic Concrete | SY | 1270 |  | 0
RD-10 | Adjust Valve Boxes | EA | 60 |  | 0
RD-11 | Adjust Hydrant | EA | 7 |  | 0
RD-12 | Adjust Manhole | EA | 28 |  | 0
RD-13 | Adjust Air Release Valve / Offcet Valve Manhole | EA | 5 |  | 0
RD-14 | Adjust Gas Valve | EA | 10 |  | 0
RD-15 | Adjust Utiltiy Box | EA | 10 |  | 0
RD-16 | Adjust Guy Wires | EA | 10 |  | 0
RD-17 | Relocate Mailboxes | EA | 10 |  | 0
| Total Roadway |  |  |  | 0
Concrete | Mechanical Improvements within Building
C-01 | Concrete Curb & Gutter, Type E | LF | 52 |  | 0
C-02 | Concrete Curb & Gutter, Type F (Including Transitions and Driveways) | LF | 7410 |  | 0
C-03 | Concrete Curb & Gutter, Type F (Modified) | LF | 20 |  | 0
C-04 | Concrete Curb, Type D | LF | 2450 |  | 0
C-05 | Concrete Valey Gutter (Including Transitions and ADA Ramps) | LF | 6500 |  | 0
C-06 | Concrete Flush Header Curb 24" | LF | 120 |  | 0
C-07 | Concrete Flush Header Curb 12" | LF | 50 |  | 0
C-08 | Concrete Sidewalks, 6" Thick | SY | 11165 |  | 0
C-09 | Concrete Driveways, 6" Thick | SY | 3150 |  | 0
C-10 | ADA Curb Ramp | EA | 96 |  | 0
C-11 | Detectable Warning Surface | SF | 2880 |  | 0
| Total Concrete |  |  |  | 0
Storm Drainge | Mechanical Improvements within Building
SD-01 | Remove Ex. Inlet | EA | 16 |  | 0
SD-02 | Remove Ex. Storm Manhole | EA | 2 |  | 0
SD-03 | Remove Ex. Storm Drainge Pipe | LF | 725 |  | 0
SD-04 | Type E Inlet | EA | 3 |  | 0
SD-05 | Type C Box with Curb Inlet | EA | 4 |  | 0
SD-06 | Type C Box with Gutter Inlet | EA | 9 |  | 0
SD-07 | Type E Box with Curb Inlet | EA | 1 |  | 0
SD-08 | Type E Box with Gutter Inlet | EA | 3 |  | 0
SD-09 | 3’X8’ Box with Hooded Inlet and Manhole Access | EA | 1 |  | 0
SD-10 | 4' Dia. Manhole | EA | 2 |  | 0
SD-11 | 5' Dia. Manhole | EA | 5 |  | 0
SD-12 | 6' Dia. Manhole | EA | 3 |  | 0
SD-13 | Connection to Existing Pipe or Structure | EA | 10 |  | 0
SD-14 | 4'X4' Exfiltration Trench (including 18" Slotted RCP) | LF | 400 |  | 0
SD-15 | 15" RCP | LF | 320 |  | 0
SD-16 | 15" DIP | LF | 195 |  | 0
SD-17 | 18" RCP | LF | 115 |  | 0
SD-18 | 24" RCP | LF | 80 |  | 0
SD-19 | CCTV EX. STORM DRAINAGE AT CONNECTIONS AND TO REMAIN WITHIN PROJECT AREA (INCLUDING REPORT) | LS | 1 |  | 0
SD-20 | CCTV NEW STORM DRAINAGE (INCLUDING REPORT) | LS | 1 |  | 0
| Total Storm Drainge |  |  |  | 0
Utility Improvements
U-01 | REMOVE AND DISPOSE EXISTING WATERMAIN (INCLUDE FITTINGS AND VALVES) | LF | 420 |  | 0
U-02 | 6" DIP WATER MAIN (INCLUDES TRENCHING) | LF | 290 |  | 0
U-03 | 8" DIP WATER MAIN (INCLUDES TRENCHING) | LF | 85 |  | 0
U-04 | 4" GATE VALVE AND BOX | EA | 1 |  | 0
U-05 | 6" GATE VALVE AND BOX | EA | 11 |  | 0
U-06 | 8" GATE VALVE AND BOX | EA | 1 |  | 0
U-07 | 16"X6" TAPPING SLEEVE AND VALVE | EA | 4 |  | 0
U-08 | 16"X8" TAPPING SLEEVE AND VALVE | EA | 2 |  | 0
U-09 | CONNECT TO EXISTING MAIN OR STUB (INCLUDES FITTINGS, COUPLINGS,SPOOL PIECES, ETC.) COMPLETE | EA | 32 |  | 0
U-10 | NEW WATERMETER BOX, WATER SERVICE, AND RELOCATE EXISTING METER , 1" POLY OPEN CUT TRENCH | EA | 3 |  | 0
U-11 | ADJUST EXISTING WATER METING BOX TO FINISHED GRADE | EA | 55 |  | 0
U-12 | 4"x4" TEE | EA | 1 |  | 0
U-13 | 6"x4" TEE | EA | 1 |  | 0
U-14 | 6"x6" TEE | EA | 4 |  | 0
U-15 | 6" ANCHOR TEE | EA | 1 |  | 0
U-16 | 6" - 45 DEGREE BEND | EA | 26 |  | 0
U-17 | 8" - 45 DEGREE BEND | EA | 8 |  | 0
U-18 | 6" - 90 DEGREE BEND | EA | 1 |  | 0
U-19 | 6"X4" REDUCER | EA | 3 |  | 0
U-20 | 8"X6" REDUCER | EA | 1 |  | 0
U-21 | 6" PLUG | EA | 5 |  | 0
U-22 | 8" PLUG | EA | 2 |  | 0
U-23 | 4" LINE STOP | EA | 2 |  | 0
U-24 | 6" LINE STOP | EA | 8 |  | 0
U-25 | 8" LINE STOP | EA | 4 |  | 0
U-26 | FIRE HYDRANT ASSEMBLY | EA | 1 |  | 0
U-27 | 4" CONCRETE THRUST COLLAR VALVE RESTRAINT | EA | 1 |  | 0
U-28 | 6" CONCRETE THRUST COLLAR VALVE RESTRAINT | EA | 7 |  | 0
U-29 | 8" CONCRETE THRUST COLLAR VALVE RESTRAINT | EA | 3 |  | 0
U-30 | RESTRAIN EXISTING 4" WATER MAIN | LF | 80 |  | 0
U-31 | RESTRAIN EXISTING 6" WATER MAIN | LF | 350 |  | 0
U-32 | RESTRAIN EXISTING 8" WATER MAIN | LF | 80 |  | 0
U-33 | RESTRAIN EXISTING 16" WATER MAIN | LF | 150 |  | 0
U-34 | SAMPLE POINT | EA | 4 |  | 0
U-35 | REPLACE EX. 6" VCP SAN WITH SDR26 PVC INCLUDING FERNCO COUPLINGS (CONTINGENCY ITEM) | LF | 100 |  | 0
U-36 | REPLACE EX. 8" VCP SAN WITH SDR26 PVC INCLUDING FERNCO COUPLINGS (CONTINGENCY ITEM) | LF | 100 |  | 0
U-37 | CCTV EX SANITARY SEWER MAINS AND SERVICE LATERALS WITHIN PROJECT AREA (INCLUDING REPORT) | LS | 1 |  | 0
U-38 | CCTV NEW SANITARY SEWER MAINS AND SERVICE LATERALS WITHIN PROJECT AREA (INCLUDING REPORT) | LS | 2 |  | 0
U-39 | INSTALL CLEANOUT AT R/W (INCLUDING PYPASS PUMPING) | EA | 18 |  | 0
U-40 | 6' PVC SDR26 SEWER LATERAL REPLACEMENT WITH CLEANOUT AT R/W (INCLUDING PYPASS PUMPING) | EA | 18 |  | 0
| Total Utiltiy Improvements |  |  |  | 0
Signs and Pavement Markings
SS-01 | Single Post Sign, F&I Ground Mount, Triangular Slip Base | EA | 90 |  | 0
SS-02 | Single Post Sign Removed | EA | 75 |  | 0
SS-03 | Single Post Sign Relocated | EA | 10 |  | 0
SS-04 | Rectangular Rapid Flashing Beacon Assembly | EA | 2 |  | 0
SS-05 | Retro-Reflective Pave. Markers (Bi-Dir, White/Red) | EA | 200 |  | 0
SS-06 | Retro-Reflective Pave. Markers (Bi-Dir, Yellow/Yellow) | EA | 700 |  | 0
SS-07 | Retro-Reflective Pave. Markers (Blue) | EA | 10 |  | 0
SS-08 | Thermoplastic, Standard, White, Arrows | EA | 63 |  | 0
SS-09 | Thermoplastic, Standard, White, Solid, 24" | LF | 1640 |  | 0
SS-10 | Paint, Standard, White, Solid, 24" | LF | 1640 |  | 0
SS-11 | Thermoplastic, Standard, White, Solid, 12" | LF | 3300 |  | 0
SS-12 | Paint, Standard, White, Solid, 12" | LF | 3300 |  | 0
SS-13 | Thermoplastic, Standard, White, skip, 6" | LF | 160 |  | 0
SS-14 | Thermoplastic, Standard, White, Solid, 6" | LF | 15220 |  | 0
SS-15 | Thermoplastic, Standard, Yellow, Skip, 6" | LF | 4678 |  | 0
SS-16 | Thermoplastic, Standard, White, Message or Symbol | EA | 126 |  | 0
SS-17 | Thermoplastic, Standard, Yellow, Solid, 18" | LF | 350 |  | 0
SS-18 | Thermoplastic, Standard, Yellow, Solid, 6" | LF | 8450 |  | 0
SS-19 | Paint, Standard, Double Yellow, Solid, 6" | LF | 3696 |  | 0
| Total Signs and Pavement Markings |  |  |  | 0
Signalization
630 2 11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH | LF | 105 |  | 0
630 2 12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE | LF | 370 |  | 0
632 7 2 | SIGNAL CABLE - REPAIR/REPLACE/OTHER, FURNISH & INSTALL | LF | 100 |  | 0
635 2 11** | PULL & SPLICE BOX, F&I, 13"X24" COVER SIZE | EA | 29 |  | 0
639 1 122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR | AS | 1 |  | 0
639 2 1 | ELECTRICAL SERVICE WIRE, F&I | LF | 50 |  | 0
639 3 11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE MOUNT | EA | 1 |  | 0
641 2 12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE | EA | 1 |  | 0
646 1 11 | ALUMINUM SIGNALS POLE, PEDESTAL | EA | 10 |  | 0
641-2-87 | PRESTRESSED CONCRETE POLE, DEEP POLE REMOVAL - POLE 30' AND GREATER | EA | 4 |  | 0
649 1 65 | STEEL STRAIN POLE, REMOVE, DEEP FOUNDATION REMOVAL, BOLT ON ATTACHMENT | EA | 4 |  | 0
649 21 1 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 30' | EA | 2 |  | 0
649 21 3 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 40' | EA | 1 |  | 0
649 21 15 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, SINGLE ARM 70' | EA | 1 |  | 0
650 1 14*** | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 3 SECTION, 1 WAY | AS | 6 |  | 0
650 1 16*** | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 4 SECTION, 1 WAY | AS | 2 |  | 0
650 1 19*** | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL ALUMINUM, 5 SECTION CLUSTER, 1 WAY | AS | 2 |  | 0
653 1 11 | PEDESTRIAN SIGNAL, FURNISH & INSTALL LED COUNTDOWN, 1 WAY | AS | 10 |  | 0
653 1 60 | PEDESTRIAN SIGNAL, REMOVE PED SIGNAL - POLE/PEDESTAL TO REMAIN | AS | 1 |  | 0
660 2106 | LOOP ASSEMBLY, F&I, TYPE F | AS | 9 |  | 0
665 1 11* | PEDESTRIAN DETECTOR, FURNISH & INSTALL, STANDARD | EA | 10 |  | 0
670 5110 | TRAFFIC CONTROLLER ASSEMBLY, FURNISH & INSTALL NEMA TS-2 TYPE 6 WITH ATC CONTROLLER | AS | 1 |  | 0
670 5 600 | TRAFFIC CONTROLLER ASSEMBLY, REMOVE CONTROLLER WITH CABINET | AS | 1 |  | 0
684 1 1 | MANAGED FIELD ETHERNET SWITCH, F&I | EA | 1 |  | 0
700 3 201 | SIGN PANEL, FURNISH & INSTALL, OVERHEAD MOUNT, UP TO 12 SF | EA | 5 |  | 0
700 5 22 | INTERNALLY ILLUMINATED SIGN | EA | 4 |  | 0
| Total Signalization |  |  |  | 0
Lighting
0630 2 11 | Conduit, Furnish & Install, Open Trench | LF | 5100 |  | 0
0630 2 12 | Conduit, Furnish & Install, Directional Bore | LF | 800 |  | 0
0635 2 11 | Pull & Splice Box, F&I, 13"X24" Cover Size | EA | 60 |  | 0
| Total Lighting |  |  |  | 0
Landscape
L-01 | Dumpster/ Haul waste | EA | 10 |  | 0
L-02 | Wild Tamarind transplant | EA | 1 |  | 0
L-03 | Christmas Palm transplant | EA | 3 |  | 0
L-04 | Cabbage Palm transplant | EA | 8 |  | 0
L-05 | Gumbo Limbo - 6" Cal. 18' HT x 6' Spr. | EA | 4 |  | 0
L-06 | Southern Live Oak - 6" Cal. 22'Ht. x 10' Spr. | EA | 11 |  | 0
L-07 | Orange Geiger Tree - 2" Cal. 14' Ht. x 4' Spr. | EA | 9 |  | 0
L-08 | Silver Buttonwood - 2" Cal. 14' Ht. x 3' Spr. | EA | 6 |  | 0
L-09 | Solitaire Palm - 20' OA | EA | 30 |  | 0
L-10 | Florida Thatch Palm - 8' OA | EA | 6 |  | 0
L-11 | Florida Thatch Palm - 20' OA | EA | 17 |  | 0
L-12 | Muskogee Crape Myrtle - 3" Cal. 14' Ht x 5' Spr. | EA | 13 |  | 0
L-13 | Dwarf Yaupon- 12" x 12" | EA | 826 |  | 0
L-14 | Green Island Ficus - 15" x 15" | EA | 368 |  | 0
L-15 | Dwarf Fakahatchee - 18" Ht. | EA | 62 |  | 0
L-16 | Blue Daze - 6" x 12" | EA | 986 |  | 0
L-17 | Perennial Peanut - 6" x 6" | EA | 31353 |  | 0
L-18 | Flexipave HD2000 | SF | 616 |  | 0
| Total Landscape |  |  |  | 0
Irrigation
IR-01 | Water Meter 1.5" (Provided by City) | EA | 2 |  | 0
IR-02 | Backflow Preventer 1.5" | EA | 2 |  | 0
IR-03 | DIG -LEIT 4000 4 Station Controller | EA | 1 |  | 0
IR-04 | DIG -LEIT 4000 6 Station Controller | EA | 1 |  | 0
IR-05 | Toro 570S-FB-PC | EA | 104 |  | 0
IR-06 | Toro 570Z-12P ADJ Series | EA | 141 |  | 0
IR-07 | Torol 570Z-12P 8 Series | EA | 28 |  | 0
IR-08 | Hunter Mini-Clik | EA | 2 |  | 0
IR-09 | Irritrol Control Valves | EA | 7 |  | 0
IR-10 | Irrigation Lateral Line: PVC Schedule 40 | LF | 6386 |  | 0
IR-11 | Irrigation Mainline: PVC Schedule 40 | LF | 769 |  | 0
IR-12 | Horizontal Directional Drill/ Missile Bore | LF | 400 |  | 0
IR-13 | Trench Sleeve / Conduit | LF | 650 |  | 0
IR-14 | Gaurdshack Enclosure CGS-2 | EA | 2 |  | 0
| Total Irrigation |  |  |  | 0
| Total General Conditions |  |  |  | 0
| Total Erosion Control |  |  |  | 0
| Total Roadway |  |  |  | 0
| Total Concrete |  |  |  | 0
| Total Storm Drainage |  |  |  | 0
| Total Utility Improvements |  |  |  | 0
| Total Signs and Pavement Markings |  |  |  | 0
| Total Signalization |  |  |  | 0
| Total Lighting |  |  |  | 0
| Total Landscape |  |  |  | 0
| Total Irrigation |  |  |  | 0
| BASE BID TOTAL |  |  |  | 0
Bidder Company Name:__________________________________________________
Signature of Official authorized to bind Bidder:_____________________________
Print Name:____________________________________________________
Title:__________________________________________________________
Date:__________________________________________________________
Failure to fully complete and sign this Bid Form may result in rejection of the Bid.
END SCHEDULE OF BID ITEMS
*BIDDERS: THE CITY HAS PROVIDED AN ELECTRONIC SPREADSHEET FOR BID ITEM TABULATION. IT IS MANDATORY THAT ALL BIDDERS PROVIDE BOTH A SIGNED PAPER BID TABULATION AND ELECTRONIC BID TABULATION. THE ELECTRONIC BID TABULATION SHALL BE SUBMITTED WITH THE PAPER BID TABULATION BY MEANS OF COMPACT DISK, FLASH DRIVE, OR OTHER DIGITAL DATA STORAGE DEVICE. PAPER BID TABULATION AND ELECTRONIC BID TABULATION SHALL BE MATERIALLY CONSISTENT AND CONTAIN THE SAME INFORMATION. IN CASE OF DISCREPANCY, THE SIGNED PAPER BID TABUALATION SHALL PREVAIL. FAILURE TO SUBMIT AN ELECTRONIC COPY/VERSION OF THE PROVIDED BID TABULATION SHALL BE CAUSE FOR REJECTION OF THE BID.

## Eval (hidden)
Minimum Qualifications
1 | Copy of Contractor’s State of Florida General Contractor’s License and/or Underground Utility Contractors License.
3 | Bid (Form B2 and B3) must be signed by the corporate officer authorized to bind the company. Note: Sign in blue ink every place it is required.
4 | Bid proposal must be received and stamped in by the Procurement Division on or before 3:00 p.m. on Thursday, July 7, 2014.
Evaluation Factors
1 | The Bidder shall describe their understanding and approach to the project that addresses all of the items listed on Form A1 – Project Understanding and Approach.
2 | Total Bid
Other Factors
1 | Reference responses.
2 | Evidence of ability to work efficiently and cooperatively with City staff; past performance with the City and others.
3 | Small business program participation.
4 | Impact on local economy.
5 | Any suspension or debarment by any government entity; any prior conviction for bribery, theft, forgery, embezzlement, falsification or destruction of records, antitrust violations, honest services fraud or other offense indicating a lack of business integrity or honesty; any prior violation of City or County ethical standards.
6 | Consideration of any other factors specific to this quote.
7 | Such other information as may be obtained.
Addenda